DNV approved  MED Adjustable Flow Rate Nozzle

• EN 15182-2 Type 3 and DIN 14367 compliance

• Combination pattern nozzles with multiple flow settings for operator flow control

• Produce straight stream for maximum reach and superb wide fog pattern for optimun fire

fighter protection

• Easy to operate with a-quarter turn from straight stream to fog

• One-click turn of the moulded bumper ring to flashover pattern position

• Raised lug on the bumper for flashover fog pattern

• Maximum flow position touch button on the flow selection control ring

• Exceptionally lightweight and compact

浙江沃德消防器材有限公司                                                           ZHEJIANG WORLD FIRE FIGHTING EQUIPMENT CO., LTD.                                                                                                                        Add:No.8, Xinxi Road,Moushan Town, Yuyao City, Zhejiang Province, China.   Wechat / WhatsApp:: +86 13685872522                                   Email:sunwu2689@aliyun.com                                                    www.nbworldfire.com

• Stainless steel spinning teeth ensure corrosion resistance and durability

• Newly improved handle with two reinforced metal pieces to improve durability

• Heavy-duty chrome plated shutoff ball ensures smooth action and long-lasting service life

• Ergonomic design pistol for comfort

• Minimal maintenance reflected in robust design, precision machining and quality materials

ML230                    ML500

ML750                       ML950

| Product Number | Model | Inlet | Pressure | Flow Rate (LPM) | F.Distance | Weight |
| --- | --- | --- | --- | --- | --- | --- |
| WOG08-200MD-00 | ML230 | F 1”NH | 6 BAR | 50-100-150-230 | 26M | 1KG |
| WOG08-200MB-00 | ML500 | 2”BSP | 6 BAR | 115-230-360-475 | 32M | 1.8KG |
| WOG08-200MG-00 | ML750 | 2.5”BSP | 6 BAR | 360-475-550-750 | 35M | 2.8KG |
| WOG08-200MC-00 | ML950 | 2.5”BSP | 6 BAR | 360-475-550-750-950 | 37M | 2.8KG |

浙江沃德消防器材有限公司                                                           ZHEJIANG WORLD FIRE FIGHTING EQUIPMENT CO., LTD.                                                                                                                        Add:No.8, Xinxi Road,Moushan Town, Yuyao City, Zhejiang Province, China.   Wechat / WhatsApp:: +86 13685872522                                   Email:sunwu2689@aliyun.com                                                    www.nbworldfire.com

MQ500/MH500/MHD400

FIRE NOZZLE

DESIGNED FOR HARSH OFF-SHORE

MARINE ENVIRONMENTS - EN 6 BAR

KEY USERS                         KEY FACTS

• Off-Shore Marine                   • ISO9001 Quality Controlled

• Oil & Gas                          • MED Approved

• Commercial Shipping Lines          • Manufactured to EN 6 Bar

• Defence                           • Fully Marinised Bronze Construction

• Major Industrials                    • Stainless Steel Spinning Teeth

• Aviation                            • Stainless Steel Profiled Ball Valve

• Mining                             • 10 Year Manufacturer’s Warranty

• Nuclear

The MQ500 is available in a range of selectable or constant flow options to suit every marine firefighting scenario using low pressure hose lines. Supplied with BSP (British) or NH (American) threads to allow the user to fit any international inlet adaptors the MQ500 comes in natural Bronze finish with a choice of Black, Red or Green pistol grip and control handle.

浙江沃德消防器材有限公司                                                           ZHEJIANG WORLD FIRE FIGHTING EQUIPMENT CO., LTD.                                                                                                                        Add:No.8, Xinxi Road,Moushan Town, Yuyao City, Zhejiang Province, China.   Wechat / WhatsApp:: +86 13685872522                                   Email:sunwu2689@aliyun.com                                                    www.nbworldfire.com

Bronze                    Brass                     Brass       MQ500                    MH500                  MHD400

| Product Number | Model | Inlet | Pressure | Flow Rate (LPM) | F.Distance | Weight |
| --- | --- | --- | --- | --- | --- | --- |
| WOG08-200MQ-00 | MQ500 (Bronze) | 2”BSP | 6 BAR | 115-230-360-475 | 32M | 3.9KG |
| WOG08-200MH-00 | MH500 (Brass) | 2”BSP | 6 BAR | 115-230-360-475 | 32M | 3.9KG |
| WOG08-209-00 | MHD400 (Brass) | 2”BSP | 6 BAR | 0-400 | 30M | 3.5KG |

Noted:

Maximum Use Pressure: 16 Bar Factory Tested to 22.5 Bar

Maximum Advised Working Pressure: Maximum 12 Bar

Recommended Inlet Pressure: 5 - 8 Bar

Minimum Operational Pressure: 3 Bar

Available with all International inlet fittings –

浙江沃德消防器材有限公司                                                           ZHEJIANG WORLD FIRE FIGHTING EQUIPMENT CO., LTD.                                                                                                                        Add:No.8, Xinxi Road,Moushan Town, Yuyao City, Zhejiang Province, China.   Wechat / WhatsApp:: +86 13685872522                                   Email:sunwu2689@aliyun.com                                                    www.nbworldfire.com

Instantaneous / Storz / NH / JIS Nakajima / Machino / Barcelona / Uni / Guillemin / NOR / SMS / Gost / Rotta.